{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":55,"n_cols":7,"rows_kept":55,"merged":[[0,0,0,6],[2,6,10,6],[11,2,11,4],[13,0,15,0],[16,0,16,3],[18,6,24,6],[25,2,25,4],[27,0,29,0],[30,0,30,3],[32,6,43,6],[44,2,44,4],[46,0,48,0],[49,0,49,3],[50,0,50,3],[50,4,50,6]]}
["电气设备预防性试验项目报价单"]
["序号","项目名称-丹蓉店","单位","数量","单价","最高控制价（单价）","备注说明"]
[1,"KYND-12高压进线柜","面",1,null,1515,"不包括电气配件更换：如 1、柜内电源指示灯、交流接触器、开关手柄、操作机构弹簧、电流表等元器件的更换或维修； 2、不包括断路器和变压器等大型元件更换。"]
[2,"KYND-12高压母线柜","面",1,null,1515]
[3,"KYND-12高压计量柜","面",1,null,2200]
[4,"KYND-12高压馈线柜","面",1,null,1515]
[5,"SCB10-1000/10变压器","台",1,null,1847]
[6,"GGD2低压进线柜","面",1,null,1225]
[7,"GGJ2低压补偿柜20kVar","面",1,null,699]
[8,"10kV电缆","项",1,null,1156]
[9,"直流电源柜","面",1,null,2583]
[10,"配件更换费用",{"$nulls":4},"根据现场需要"]
[11,"配电房避雷网","项",1,null,752]
[12,"绝缘用具：绝缘手套","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：绝缘靴","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：高压验电器","支",1,null,94,"2次（每半年一次）"]
["合计"]
[null,"项目名称-新都汇店","单位","数量","单价",null,"备注说明"]
[1,"HXGN-12高压进线柜","面",1,null,1515,"不包括电气配件更换：如 1、柜内电源指示灯、交流接触器、开关手柄、操作机构弹簧、电流表等元器件的更换或维修； 2、不包括断路器和变压器等大型元件更换。"]
[2,"HXGN-12高压计量柜","面",1,null,2227]
[3,"HXGN -12高压馈线柜","面",1,null,1515]
[4,"S11-630/10电力变压器","台",1,null,1821]
[5,"GGD2低压进线柜","面",1,null,12255]
[6,"GGJ2低压补偿柜20kVar","面",1,null,699]
[7,"10kV电缆","项",1,null,1156]
[8,"配件更换费用",{"$nulls":4},"根据现场需要"]
[9,"配电房避雷网","项",1,null,752]
[10,"绝缘用具：绝缘手套","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：绝缘靴","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：高压验电器","支",1,null,94,"2次（每半年一次）"]
["合计"]
[null,"项目名称-台江店","单位","数量",null,null,"备注说明"]
[1,"KYND-12高压进线柜","面",2,null,1515,"不包括电气配件更换：如 1、柜内电源指示灯、交流接触器、开关手柄、操作机构弹簧、电流表等元器件的更换或维修； 2、不包括断路器和变压器等大型元件更换。"]
[2,"KYND-12高压计量柜","面",2,null,2227]
[3,"KYND-12高压母线柜","面",2,null,1515]
[4,"KYND-12高压馈线柜","面",2,null,1515]
[5,"KYND-12高压母联柜","面",1,null,3201]
[6,"KYND-12高压隔离柜","面",1,null,1425]
[7,"SCB10-630/10干式变压器","台",2,null,1821]
[8,"GGD2低压进线柜","面",2,null,1225]
[9,"GGJ2低压补偿柜20kVar","面",2,null,699]
[10,"低压母联柜","面",1,null,699]
[11,"10kV电缆","项",1,null,1156]
[12,"直流电源柜","面",1,null,2583]
[13,"配件更换费用",{"$nulls":4},"根据现场需要"]
[14,"配电房避雷网","项",1,null,752]
[15,"绝缘用具：绝缘手套","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：绝缘靴","双",1,null,158.5,"2次（每半年一次）"]
[null,"绝缘用具：高压验电器","支",1,null,94,"2次（每半年一次）"]
["合计"]
["总合计"]
["备注：以上报价含税费、运输、搬运及安装、售后服务等各项费用（增值税专用发票 ，税率   %）"]
[null,"报价方名称（盖章）："]
[null,"联系人/电话："]
[null,"日期："]